## Slide 1: Build a colorimeter

## Slide 2
Spectra
LED Emission

## Slide 3
Light absorption

## Slide 4
Light absorption
Erioglaucine Absorption
lmax = 630 nm

## Slide 5
Spectra
Erioglaucine Absorption
LED Emission
lmax = 630 nm

## Slide 7
void setup() {
pinMode(A0, INPUT);
Serial.begin(9600);
}
void loop() {
Serial.println(analogRead(A0));
delay(200);
}
A simple lightmeter
Photodiode
A0
input
Resistor 10 kW
5V
GND
Grande patte

## Slide 8
Photodiode
Photodiode
A0
input
Resistor
1-1000 kW
Signal proportional to light intensity
5V
GND
Notes: https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1285

## Slide 9
GND
5V
R1
Can we imagine to build a colorimeter ?
LED
Photodiode
A0
input
Resistor 1-1000 kW
5V
GND

## Slide 10
GND
Pin 8
R1
Can we imagine to build a colorimeter ?
LED
Photodiode
A0
input
Resistor 1-1000 kW
5V
GND

## Slide 11
How do we really mesure Absorbance (I and I0) ?
I0
I
Capteur
Notes: https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1285

## Slide 12
How do we really mesure Absorbance (I and I0) !
Notes: https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1285

## Slide 13
Blank
Sample (échantillon)
Absorbance measurement in dark conditions

## Slide 14
1 - LED ON
Sblank+Ssun
Without cover : light modulation
2 - LED OFF
Ssun
3 - Ssample+Ssun2
4 - Ssun2

## Slide 15
Quality of measurement
precision
trueness

## Slide 16
Accuracy = trueness and precision
Quality of measurement

## Slide 17
Validation of calibration
Concentration
Signal
5 repeated mesurement on 5 concentration levels
I1
I

## Slide 18
For each line
Slope, intercept
Recalculated concentrations
(close to 2, 4, 6, 8, 10)
Relative Biais
Absolute Biais
Calc.Conc – Expected.Conc
Validation of calibration (NF 90-210)

## Slide 19
Relative Biais %
Concentration (mg/L)
Validation of calibration (NF 90-210)

## Slide 20
One instrument : three wavelengths